{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":48,"n_cols":13,"rows_kept":48,"merged":[[0,0,0,6]],"flags":["formulas_cached_only"]}
["虾子镇中心卫生院新增工程项目清单"]
["序号","处理楼层","名称","规格","单位","数量","备注"]
[1,"二楼及五楼","锁",null,"把",80,"不锈钢"]
[2,"二楼及五楼","灯","600×600","个",160,"LED"]
[3,"二楼及五楼","灯","300*600","个",20,"LED"]
[4,"二楼及五楼","换气扇","300*300","套",17]
[5,"二楼及五楼","马桶",null,"个",1,"陶瓷"]
[6,"二楼及五楼","洗手龙头",null,"个",10,"不锈钢"]
[7,"二楼及五楼","水箱","380*120*445","个",30,"塑料"]
[8,"二楼及五楼","洞灯","200mm","个",60]
[9,"二楼及五楼","地砖修补跟换五楼过道","800*800","m²",20]
[10,"二楼及五楼","铝塑板五楼过道维修",null,"m²",15]
[11,"二楼及五楼","三角阀",null,"个",80,"不锈钢"]
[12,"二楼及五楼","软管","80cm","根",80]
[13,"二楼及五楼、慢病管理中心、预防接种二楼","住院部二楼五楼门修补一项",null,"樘",30]
[14,"二楼及五楼","门吸",null,"个",80,"不锈钢"]
[15,"二楼及五楼","柜子及抽屉卡条",null,"米",1500]
[16,"全部","热水器","60L  420*560*390","个",17,"海尔"]
[17,"一楼、二楼、五楼","灯带",null,"米",146]
[18,"一楼、二楼、五楼","钢质防火门","1500*1960","m²",23,"8扇"]
[19,"中医馆门口","木工维修及刷漆及滚漆",null,"m²",8]
[20,"中医馆一楼过道","吊顶石膏及滚漆修补",null,"m²",60]
[21,"中医馆一楼","吊顶石膏及滚漆修补",null,"m²",60]
[22,"中医馆二楼过道","吊顶石膏及滚漆修补",null,"m²",60]
[23,"中医馆二楼","吊顶石膏及滚漆修补",null,"m²",60]
[24,"住院部二楼","吊顶石膏及滚漆修补",null,"m²",150]
[25,"住院部五楼","吊顶石膏及滚漆修补",null,"m²",150]
[26,"住院部五楼","电梯对着卫生间\n蹲位门板跟换","1900*1300*1100","樘",6]
[27,"住院部五楼","搬运办公不用物品\n及一楼清理不用物品处",null,"项",1]
[28,"中医馆","复古大灯","60*1000","个",2]
[29,"中医馆","复古灯","50*50","个",25]
[30,"中医馆","复古小吊灯","300mm","个",3]
[31,"中医馆","复古大吊灯","500mm","个",1]
[32,"住院部二楼五楼","大理石",null,"米",24]
[33,"住院部二楼五楼","拆除及运输及清理",null,"项",1]
[34,"慢病管理中心二楼","更换铝塑板",null,"m²",30]
[35,"卫生间","小便池感应器",null,"个",14]
[36,"中医馆二楼"," 煎药设备搬运、线路改造及\n跟换龙头空开",null,"项",1]
[37,"一楼","电梯漏水处理",null,"项",1,"电梯漏水开挖、处理、防水、回填、清理"]
[38,"住院部二楼五楼及慢病中心"," 卫生间洗水盆下水",null,"套",20]
[39,"住院一楼、慢病管理中心一楼","圆形导医台以及加工弧形导医台",null,"个",2]
[40,"生锈椅子","打磨涂漆",null,"张",20,{"$nulls":6}," "]
[41,"预防接种及住院部一楼","儿童沙发以及围绕柱子的沙发",null,"张",6]
[42,"中医馆二楼","过道更换木地板及拆除及维修",null,"m²",63]
[43,"药房、药库","摄像头 ",null,"个",2]
[44,"慢病管理中心","玻璃","宽1.5m、长1.63m","扇",1]
[45,"虾子卫生院","空调深度清洗",null,"台",280]
[46,"虾子卫生院","空调维修及加氟（大概预算）",null,"台",280]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}